FYS 4250

20 questions to each chapter

Chapter 5

- How can we control the oxygen-level when a patient is ventilated with a self-inflating O2-concentrations?

- How can we avoid wasting costly anesthetics when ventilating patients with mechanical ventilation, what are the main risks with the method and how can we minimize this risk?

- What is microdialysis and how can this method be used for finding concentrations in the extracellular fluid in the brain?

- What is the difference between low-flow rate and no-net flux?

- Why is always a volume of air trapped in the lungs?

- What are the main parts of a servocontrolled ventilator, and what would happen if we removed the expiratory valve?

- What is volume-controlled ventilation, and how is the servo-ventilator acting to provide the volume-controlled mode?

- What is pressure-controlled ventilation, and what factors affect the volume in this mode?

- If you have a patient where you suspect high airway resistance, which mode would you select?

- What are the main advantages with each mode, and what are the main disadvantages?

- What happens if the inspiration time Ti is too short during inspiration?

- What happens if the expiration time Te is too short during expiration?

- What is peep, and how can the servo-ventilator achieve a decent peep?

- How will low compliance influence on mechanical ventilation, and what would the ventilator-operator do to minimize the problem if the compliance decreases?

- What are the main advantages and disadvantages with each ventilator mode?

- What is a sidestream measurement, and what is the main advantages and disadvantages with this method

- What is a typical error with a spectrophotometric method, and how can we minimize the problem?

- What are the main sources of error when using a paramagnetic oxygen analyzer?

- What is the main advantage with a full-body plethysmograph?

- Explain the principles of mechanical hemodialysis, and explain why there is a pump generating an under-pressure in the tube that leads the waste to the sink

Chapter 6

- Describe how the X-ray tube is designed

- What is the collimator light good for?

- Why is the mass attenuation coefficient important?

- What is the difference between “Brems-strahlung” and characteristic radiation?

- Why do we need a filter before the photons are leaving the x-ray tube?

- What Is secondary radiation, what is the problem with it and how can we avoid it?

- What kind of focal spot would you prefer if you were taking an X-ray image of a very small, bony structure in the wrist?

- What are the main sources of error, and how can we minimize each?

- What is a modulation transfer function and how can we derive it for an x-ray system?

- What are the three main ways of protecting against ionizing radiation?

- What is a contrast agent and what is the purpose of it?

- What are the basic principles of a CT-scanner?

- What is a simple back-projection and what is the main problem with the method?

- What kind of filter is used to minimize the filtered backprojection error?

- What is an iterative projection?

- Explain the basic stages of an iterative projection

- What is special with a CT-tube?

- What defines the resolution of a CT-image?

- How can a proper CT-image of the heart be taken without having an excessive dose?

- What kind of energy is used for mammography X-rays?

Kapittel 7

- Make a simple sketch of a photomultipliertube (PMT) and describe how it works, why will the PMT act as an amplifier

- What are the main advantages of fluorescence spectroscopy compared to other methods for tumor detection?

- Why is Electrosurgery not harmful for the patient, and why is it so popular?

- How can you make sure that the current path is not through a vulnerable tissue when performing electrosurgery?

- What are the main built-in safety features in an electrosurgical setup?

- Why will a regular sinus-current cut the tissue, while an intermittent exponentially decreasing amplitude will coagulate the tissue?

- What is bipolar electrosurgery, and why is it in most cases considered more safe for the patient?

- What is an electromagnetic flowmeter, how does it work, what are the main problems (sources of error) with this method and how can we compensate for this?

- Why do we need to introduce an AC-flowmeter when it is so many problems with the introduction of transformer voltage due to the alternating current?

- What is transformer voltage?

- How does the quadrature suppression flowmeter overcome the regular electromagnetic flowmeter shortcomings?

- Why does the quadrature generator need to be 90 degrees out of phase to the magnet current driver?

- What is the function of a quadrature demodulator?

- What is the purposes of the two low-pass filters in the system?

- Describe the different part of the blood, how is it possible to separate the different parts?

- What is the purpose of a cell saver, and why do we need a centrifuge?

- How can we be confident that the cell saver does not infuse airbubbles into the vein of the patient?

- Why is stray current riskier during laparoscopy than during open surgery?

- We do use an insufflator during laparascopy, what is the purpose of this and why is it important that it uses carbon dioxide instead of room air?

- What is a laparascopic procedure, what devices will you need for this, and what are the main advantages/disadvantages with the procedure?

Kapittel 8

- Explain how it is possible to measure cardiac output by means of a catheter?

- Explain how it is possible to measure the blood pressure in the pulmonary artery

- What are the main risks with a so-called Swan-Ganz catheter?

- What is Fick's method, and what is the advantages/disadvantages with the method?

- Discuss the thermodilution method vs the indicator-dye method, which one is preferable for repeated cardiac output measurements?

- Give a short description and a simple sketch of a Doppler flowmeter. What is the main problem with this and what are the main sources of error?

- Why is time-gate a problem for the doppler flowmeter?

- What is a quadrature-phase detector, and how is this designed?

- How can you find the velocity in the doppler signal, and how can you find the direction?

- Why do you need two signals in the QPD, where one is the original oscillating signal and the other one is 90 degrees shifted?

- How is it possible to measure the oxygenation in the brain?

- EXPERT: Cerebral oximetry comprises a mix of venous and arterial blood. Why is it not possible to use the same principle as regular pulse oximetry to identify the arterial saturation?

- When regular pulse oximetry use absorption of energy, what will cerebral oximetry use?

- Why do you need to start cerebral monitoring when the patient is still awake?

- What is the principle of using ultrasound as a knife for surgical procedures?

- Why is Electrosurgery still preferred before ultrasoundsurgery?

- What is the main advantage of ultrasoundsurgery?

- What is necessary to have a system for neuro navigation, and what are the main sources of error?

- What is a brain shift, and what can be done to counteract the effect of this?

- How can we be sure that the navigation system is properly calibrated to the anatomy of the patient?