# Exercises KJM3110 Electrochemistry

Solutions are provided as Hidden text: File, Options, Display, Hidden text.

## Chapter 7 Electrode reactions

A. Faraday’s law; coulometry.

i) An electrode half-cell has a volume of an aqueous solution of 10 ml. It contains an amount of dissolved CuSO4 that we want to determine and KNO3 as supporting electrolyte, and it has a metal Cu foil electrode. We connect it to another half-cell with a standard Ag/AgCl electrode via a salt bridge.

a) Draw the total cell. (It is important that you are familiar with transforming text descriptions of cells into schematic drawings.)

b) What would the open circuit voltage be over the cell if the CuSO4 concentration is 1 M?

E0Cu2+/Cu = 0.34 V. E0AgCl/Ag = 0.22 V.     En = 0.12 V.

c) We want to deposit Cu from the Cu2+ solution onto the Cu foil until all Cu2+ is consumed. Suggest a potential you would apply to get a reasonable current running for the deposition.

Somewhat more negative, for instance by 0.3 V: 0.12 - 0.3 = -0.18 V

d) Instead we decide to run a constant current of 1 mA. What happens when the solution goes empty of Cu2+ ions?

The voltage will go big (, until another reaction takes over, like reduction of water).

e) The constant current of 1 mA runs for 123 seconds before the event described in d) occurs, indicating that the solution is empty of Cu2+. How many moles of CuSO4 was there in the solution? What was the concentration of CuSO4?

Q = 0.001 A x 123 s = 0.123 C. c = 0.123 C /(2 96485 C/mol 0.01 L) = 6.4*10-5 mol/L

ii) In flowing coulometry we supply a flow of 1 ml/min of another CuSO4 solution. At a potential which denudes the solution of Cu2+ ions, we have a steady-state current of 123 μA. What is the concentration of CuSO4 in the solution?

123*10-6 A = 1.23*10-4 C/s = 6.15*10-5 mol/s. 1 ml/min = 1.67*10-5 L/s. c = 3.69 M

B. An electrode reaction O + ze- = R involving a Gibbs energy change ΔG is at equilibrium at a half cell voltage En.

i) What is ΔG generally? Is it 0? Is it ΔG0? Or can it have any value?

Any value.

ii) We increase the voltage to a new value E. How much does the Gibbs energy change ΔG change?

-zF(E-En)

C. The Butler-Volmer (BV) equation. There are simpler – we may say less exact or detailed – versions of the BV equation, but the text book derives this one:

i) It contains an anodic and a cathodic part of the total net current. Which is which, and which is positive and which is negative?

ii) We may say that it contains four terms that makes it so “accurate” – all the terms with superscripts. What is it about each of them?

iii) Follow the formalism of the book, and try to derive the BV equation, step by step. You may copy the book, or assume simplifications such as γ = 1 and cs = cb.

D. Linearise BV at small overpotentials.

i) By series expansion of exponentials, we have . Use it to linearise one of the versions of the BV equation at small overpotentials.

ii) Solve it w.r.t. the charge transfer resistance, i.e. overpotential over current density. What is the resulting unit of the charge transfer resistance?

Rct = RT/inF ohm*cm2

iii) What does small overpotentials mean here (smaller than what?)

Hint: (αzF/RT)(E-Eeq) << 1.

E. Tafel equations and Tafel plot.

i) For large positive overpotentials, simplify BV, and take the natural logarithm, showing the Tafel equation.

ii) Do the same, but take the 10-logarithm.

iii) Do the same as in i) and/or ii) but now for large negative overpotentials.

iv) What are the slopes of the curves of the semi-logarithmic Tafel plots in each of the 3-4 cases? What are the units?

v) What is the inverse of each slope, also with units? Are these “better” in any way?

F. Wrapping it all up: You have an electrode of area 2 cm2, on which a 1-electron simple red-ox reaction occurs, with symmetry factors 0.5 and at 25°C.

i) You measure the charge transfer resistance by applying a small overpotential of 20 mV and register a current of 50 μA. What is the exchange current density (i0, j0, jn…)?

i = I/A = 50∙10-6 A / 2 cm2 = 25∙10-6 A/cm2.     Rct = 20∙10-3 V / 25∙10-6 A/cm2 = 800 ohm cm2.

i0 = RT/RctF = 8.3144 J/molK * 298.15 K / (800 ohm cm2 * 96485 F/mol) = 3.2∙10-5 A/cm2.

ii) You now apply a positive overpotential of 0.1 V to the electrode. What is the net current density calculated by the BV equation and the Tafel equation. Which of them is most correct?

iii) You now apply a positive overpotential of 1 V to the electrode. What is the net current density now? How do you explain briefly the difference to the result at 0.1 V?

iv) What would be the result if you applied similar negative overpotentials?

v) What would be the result if the first current density measurement was 500 μA, so that the charge transfer resistance was 10 times lower?