## Sheet1
Lablogg 20.09.23, MEK4350: Investigating BFI
Water depth (cm) | 51.7
Setup for ULprobes:
Distance from the paddle(m): | 6.98 | 8.155 | 12.325 | 16.995
Hight above the water (m): | 0.104
Sample Rate (Hz): | 125
Range Low
Setup for the paddle:
Name on file | Setup manually/ from file | Amplitude (V) | Frequency (Hz) | Nr. of periods | Water depth (m) | alpha | t_stop (s) | beta, gamma | Trigger scan rate | Nr. of triggers | Trigger start | Trigger stop
test_run | manually | 0.2 | 2 | 240 | 0.52 | 0.4 | 120 | 0 | 100 | 2 | 15 | 105
proberun1 | manually | 0.2 | 2 | 240 | 0.52 | 0.4 | 120 | 0 | 100 | 2 | 15 | 105
proberun2 | manually | 0.2 | 2 | 240 | 0.52 | 0.4 | 120 | 0 | 100 | 2 | 15 | 105
proberun3 | manually | 0.2 | 2 | 240 | 0.52 | 0.4 | 120 | 0 | 100 | 2 | 15 | 105
proberun4 | from file Jonswap1 | 0.2 | 2 | 240 | 0.52 | 0.4 | 1260 | 0 | 100 | 2 | 15 | 105
JONSWAP is supposed to have peak period 1.1s and gamma=1
All proberun-files have been run through a program to fill all holes by interpolation. Output file is named proberun<nr>_tett.csv. | [9 empty] | PS: The yellow marked should not infect the setup for the paddle when running from file.
Output when taking away holes in the original files (if you are interested):
MEK4350_overflate_psd
run_nr =
1
Les fra ./Data_undervisning200923/proberun1.csv, skriv til ./Data_undervisning200923/proberun1_tett.csv
dos = 1, linjer = 22500, kolonner = 7, hull = 0
ans =
0
>> MEK4350_overflate_psd
run_nr =
2
Les fra ./Data_undervisning200923/proberun2.csv, skriv til ./Data_undervisning200923/proberun2_tett.csv
dos = 1, linjer = 22497, kolonner = 7, hull = 25
kolonne = 5, hull = (22284, 22308), lengde = 25
ans =
0
>> MEK4350_overflate_psd
run_nr =
3
Les fra ./Data_undervisning200923/proberun3.csv, skriv til ./Data_undervisning200923/proberun3_tett.csv
dos = 1, linjer = 22499, kolonner = 7, hull = 0
ans =
0
>> MEK4350_overflate_psd
run_nr =
4
Les fra ./Data_undervisning200923/proberun4.csv, skriv til ./Data_undervisning200923/proberun4_tett.csv
dos = 1, linjer = 22496, kolonner = 7, hull = 0
ans =
0